| FACILITY IDENTIFICATION AND OPERATIONS OVERVIEW |  |  |
| --- | --- | --- |
| UNIT | BUILDING | DATE OF PLAN PREPARATION/REVISION (MM/DD/YYYY) |
| EMERGENCY COMMUNICATIONS, PHONE NUMBERS AND NOTIFICATIONS |  |  |
| Unless properly trained and authorized do not try to mitigate spill of hazardous materials. 1. In the event of a release of hazardous materials, wastewater, POL, fire, release of toxic fume CALL 911 “Release” is defined as any amount that reaches the environment (e.g. asphalt, concrete, water, dirt or floor drain). 2. Notify facility personnel via voice, loudspeaker/intercom, or alarm and evacuate the area impacted by the spill . Assemble at muster location in accordance with the Fire Bill. 3. If the situation is safe, turn off ignition sources, remove incompatible and flammable materials, begin containment of the spill by shutting off valves, constructing earthen dikes, close the drain valve to secondary containment, distribute cloth socks/booms in front of storm drains and apply absorbents. Utilize materials in spill kit and proper Personal Protective Equipment (PPE). 4. Provide the 911 dispatcher with requested information (5 W’s). Location, type of release, amount, type (hazardous material, wastewater, fire, or fume), are there any injuries, your information and a call back number). 5. Upon arrival of Fire Emergency Services Department (FESD), provide any assistance necessary (e.g. hazardous material inventory, manpower, and/or absorbents). 6. After actions – Completed spill report, collect all soiled spilled material, place into a properly labeled and approved container, and contact EMD-RCRS for disposal. Note: Spill reports are required for all spills that are outside and shall be filed in Unit Environmental Binder. |  |  |
| HAZARDOUS MATERIAL STORAGE IN WORKCENTER Check all that apply |  |  |
| Hazardous Materials: ☐ Explosives ☐ Oxidizers ☐ Radioactive Materials ☐ Corrosive Substances ☐ Hazardous Waste |  |  |
| ☐ Oil ☐ Antifreeze ☐ Degreasers ☐ Detergents ☐ Fuel ☐ Fire Fighting ☐ Medical Waste |  |  |
| ☐ Laboratory ☐ Water Treatment ☐ Weapons Cleaning ☐ Pool Treatment ☐ Pesticides ☐ Degreasing Agents Other: |  |  |
| Batteries: ☐ Lead Acid ☐ Nickle Cadmium ☐ Lithium Ion ☐ Nickle Metal Hydride ☐ Lithium Other: |  |  |
| Compressed Gas: ☐ Argon ☐ Halon ☐ Hydrogen ☐ Helium ☐ Oxygen ☐ Propane Other: |  |  |
| INTERNAL FACILITY EMERGENCY COMMUNICATIONS OR ALARM NOTIFICATION WILL OCCUR BY (Check all that apply): ☐ VERBAL WARNINGS ☐ PUBLIC ACCESS INTERCOM ☐ TELEPHONE/CELL PHONE ☐ ALARM SYSTEM ☐ PORTABLE RADIO |  |  |
| ENVIRONMENTAL COMPLIANCE CONTACT INFORMATION: ENVIRONMENTAL COMPLIANCE OFFICER: PHONE NUMBER: ENVIRONMENTAL COMPLIANCE COORDINATOR: PHONE NUMBER: VISITING UNIT/CONTRACTOR POC: PHONE NUMBER: |  |  |

| FACILITY IDENTIFICATION AND OPERATIONS OVERVIEW |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| UNIT | BUILDING |  |  |  | DATE OF PLAN PREPARATION/REVISION (MM/DD/YYYY) |  |  |
| EMERGENCY EQUIPMENT Check the box for equipment available or unavailable for the building. |  |  |  |  |  |  |  |
| Item |  | Available | Unavailable | Item |  | Available | Unavailable |
| CHEMICAL PROTECTIVE SUITS, APRONS, AND/OR VESTS, GLOVES, BOOTS |  | ☐ | ☐ | AUTOMATIC ALARM CHEMICAL MONITORING EQUIPMENT |  | ☐ | ☐ |
| CHEMICAL PROTECTIVE SUITS, APRONS, AND/OR VESTS, GLOVES, BOOTS |  | ☐ | ☐ | ALL-IN-ONE SPILL KIT |  | ☐ | ☐ |
| SAFETY GLASSES, GOGGLES, AND FACE SHIELDS |  | ☐ | ☐ | ABSORBENT MATERIAL |  | ☐ | ☐ |
| GAS CYLINDER LEAK REPAIR KIT |  | ☐ | ☐ | SPILL OVERPACK DRUMS |  | ☐ | ☐ |
| FIRST AID KITS |  | ☐ | ☐ | BERM AND/OR DIKING EQUIPMENT |  | ☐ | ☐ |
| PLUMBED EYEWASH FOUNTAIN AND/ORSHOWER |  | ☐ | ☐ | BROOM |  | ☐ | ☐ |
| PORTABLE EYEWASH KITS AND/OR STATION |  | ☐ | ☐ | SHOVEL |  | ☐ | ☐ |
| FIXED FIRE SUPPRESSION SYSTEMS AND/OR SPRINKLERS |  | ☐ | ☐ | EXHAUST HOOD |  | ☐ | ☐ |
| CHEMICAL NEUTRALIZERS |  | ☐ | ☐ | SUMP AND/OR HOLDING TANK |  | ☐ | ☐ |

| Annotate on the rectangle below the specific locations where items from the asset list are located. Use the alphabetic characters that corresponds with the asset list. Note: If a unit has multiple buildings, there should multiple maps. |  |  |
| --- | --- | --- |
| FACILITY MAP (include areas of material/waste storage and spill response equipment storage |  |  |
|  |  | Asset List |
|  | A | Satellite Accumulation Area |
|  | B | Tank |
|  | C | Sewer/Storm Drain |
|  | D | Evacuation Route |
|  | E | Emergency Response Equipment |
|  | F | Hazardous Material Storage |
|  | G | Gas Shut-off |
|  | H | Exits/Entrances |
|  | I | Compressed Gas Storage |
|  | J | Battery Storage |
|  | K | Oil Water Separator |
|  | L | Muster Point |
|  | M | Alarm Notification System |